{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["厂区地面硬化清单"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"厂区地面硬化清单","index":0,"n_rows":8,"n_cols":13,"rows_kept":8,"merged":[[0,0,0,12],[6,1,6,2],[7,0,7,12]],"flags":["formulas_cached_only"]}
["厂区堤外挖土项目工程量清单"]
["序号","项 目 名 称","项目特征及工程内容","单位","工程量（暂定量）","综合人工费","综合材料费","综合机具费","直接费","管理费及利润","税金9%","综合单价(元)","总价(元)"]
[1,"场地清表平整","【项目特征】\n1.场地清表\n【工程内容】\n1.苗木清除\n2.清表杂草苗木由投标单位考虑外运\n","m2",{"v":60000,"d":"60000.000"}]
[2,"鱼塘排水","【项目特征】\n1.机械排水                       \n【工程内容】\n1.排水泵及人工\n2.排水泵电源由建设单位提供\n","项",{"v":1,"d":"1.000"}]
[3,"鱼塘底部清淤","【项目特征】\n1.塘底清淤\n【工程内容】\n1.塘底淤泥厚0.5m-1.5m\n2.淤泥外运由投标单位综合考虑                     ","m3",{"v":20000,"d":"20000.000"}]
[4,"土方回填","【项目特征】\n1.鱼塘土方回填\n【工程内容】 \n1.开挖及装车\n2.内倒运输\n3.分层回填及压实度≥92%","m3",{"v":100000,"d":"100000.000"}]
["二","合计",null,"元"]
["说明：1.以上清单综合单价为全费用单价，包括人工费、材料费、机械费、管理费、规费、垃圾清运、措施费及利润税金 。  "]