{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":18,"n_cols":8,"rows_kept":18,"merged":[[0,0,0,7],[2,1,9,1],[7,2,9,2],[10,1,15,1],[16,1,17,1]]}
["高压柜安全改造维修报价单模板"]
["序号 ","费用","元件名称","品牌","型号规格","单位","含税单价（元）","总价（元）"]
[1,"材料费","高压断路器","安徽森源","VBTA-12/630","只"]
[2,null,"高压断路器","安徽森源","VBTA-12/1250","只"]
[3,null,"高压断路器维修配件","陕西宝光施耐德",null,"只"]
[4,null,"接地开关","浙江恒博电器",null,"只"]
[5,null,"高压柜状态显示仪","/","DT-KZQ-5000","只"]
[6,null,"综保装置","国电南自","PSL641U,线路保护型","只"]
[7,null,null,"许继电器","线路保护型","只"]
[8,null,null,"南瑞继保","线路保护型","只"]
[9,"人工费","直流屏维修",null,null,"只"]
[10,null,"综保更换调试效验",null,null,"只"]
[11,null,"高压柜小车室活动机构维修",null,null,"只"]
[12,null,"高压断路器维修",null,null,"只"]
[13,null,"接地开关更换",null,null,"只"]
[14,null,"高压柜状态显示仪更换",null,null,"只"]
[15,"税费","材料费",null,"税率","项"]
[16,null,"人工费",null,"税率","项"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0}